Supporting information

Time matters: multiple observations over time uncover differences in the development of carbaryl toxicity in 7 aquatic invertebrates

Giulia Cafieroa,b *, Nick van Sabbenc *, Sanne van den Berga, Nico W. van den Brinkc, Paul J. van den Brinkb, Tobias Pammingerd, Ivo Roessinka, Jan Baasa

* These authors contributed equally to this work and share first authorship.

a Wageningen Environmental Research, Wageningen, the Netherlands

b Aquatic Ecology and Water Quality Management group, Wageningen University, Wageningen, the Netherlands

c Sub-department of Toxicology, Wageningen University, Wageningen, the Netherlands

d Bayer CropScience, Monnheim, Germany

Manuscript to be submitted to Ecotoxicology and Environmental Safety

Contents

S1 Experimental information	2

S1.1. Protocols	2

Table S1 – RT medium composition	2

Table S2 – Trace elements composition	3

Table S3 – Species information	3

Table S4 – Experimental set-up	4

Table S4 – Measurement of abiotic water parameters.	4

S2 Analytical information	5

Table S5 – Compound information	5

Table S6 – Analytical method	5

S3 IT model fitting	5

Table S8 – GUTS parameter values derived with the IT model	5

References	6

# S1 Experimental information

Test species rearing and experimental protocol

Daphnia magna individuals were obtained from the Aquatic Ecology and Water quality management lab culture of WUR. D. magna adults are maintained according to OECD 202 guideline (OECD, 2007) in RT medium (recipe in Table S1 and S2). Adults and neonates are fed 3 times/week Tetradesmus obliquus and kept at a 16:8-hour dark/light cycle, at 21 degrees.

Chironomus riparius individuals were obtained from a batch of freshly produced egg ropes, collected by the culture of the Institute for Biodiversity and Ecosystem Dynamics, UVA. C. riparius larvae and adults were cultured according to OECD guideline no. 235 (OECD, 2011) and fed Tetramin fish food flakes.

Hyalella azteca were obtained from the Environmental Risk Assessment lab culture. H. azteca were kept in 10 L-glass aquaria filled with previously aerated ground water and were fed two times a week with rabbit food pellets. Each aquaria contained approximately 500 organisms and pieces of cotton gauze as substrate to hold on to and hide. Aquaria are kept at room temperature with a 16:8-hour dark/light cycle. The ground water in the aquaria was filtered and flowed continuously through the system, which was cleaned periodically.

Gammarus pulex, Limnomysis benedeni, Cloeon dipterum and Libellula depressa were collected from water canals, ponds and ditches in the Wageningen/Renkum area (Gelderland, Netherlands), using nets and metal sieves. Prior to the beginning of the experiment, all test individuals were acclimatized for 4 to 5 days to the experimental conditions (18 degrees, 16:8-hour dark/light cycle). The respective test medium (Table S3) was replaced in increasing amounts. The animals were fed ad libitum during the acclimation period and not fed during the experiment. L. benedeni and C. dipterum were fed water plants; G. pulex was fed with dry Populus spp. leaves; L. depressa were fed small aquatic invertebrates. In Table S3, additional details are available on the place and date of collection.

To reduce physiological variability, the acclimatization protocol was the same for all species, except for the food provided. The individuals were carefully selected after collection to reduce size and life-stage variability. To reduce size-dependent effects and increase randomization, we selected the individuals 1-by-1 in plastic cups, instead of selecting 10 at once.

After exposure to the chemical, half of the individuals from the same test vessel were collected, blotted dry, placed in 2 mL centrifuge tubes, and stored at –20 ºC for internal concentration measurements. The other half was snap frozen in liquid nitrogen and stored at –80 ºC for enzymatic analysis. At the beginning and end of the test, water parameters were measured (Table S4). Separate fate tests were conducted to determine stability of carbaryl. The recovery values were used as input for the GUTS model (Table S7).

### Table S1 – RT medium composition

| Main stocks | Concentration (g/L) | Quantity used (mL) out of 1 L |
| --- | --- | --- |
| TES (buffer) | 85 | 1 |
| CaCl2.2H2O | 39 | 1 |
| NaNO3 | 50 | 1 |
| MgS04.7H20 | 20 | 1 |
| Na2SiO3.5H20 | 10 | 1 |
| KCI | 10 | 1 |
| CaCO3 | 13 (sat.) | 1 |
| Ca(OH)2 | 30 (sat.) | 1 |
| Trace elements | 85 | 10 |
| HCI(1N) | 39 | ~0.5 |

### Table S2 – Trace elements composition

| Components (in pre-stock) | Add to 1L TRACE |
| --- | --- |
| Na₂-EDTA | 500 mg |
| H₃BO₃ | 572 mg |
| FeCl₃·6H₂O | 194 mg |
| MnCl₂·4H₂O (18 g/100mL) | 0.4 mL |
| LiCl (31 g/100mL) | 0.29 mL |
| KBr (0.75 g/100mL) | 1.00 mL |
| Na₂MoO₄·2H₂O (2.20 g/100mL) | 0.57 mL |
| CuCl₂·H₂O (0.65 g/100mL) | 1.00 mL |
| CoCl₂·6H₂O (1.00 g/100mL) | 2.00 mL |
| KI (0.33 g/100mL) | 0.18 mL |
| Na₂SeO₃·5H₂O (0.16 g/100mL) | 0.125 mL |

### Table S3 – Species information

| Species | Place of collection | Date of collection | Average wet weight of organisms (mg, n = 10) | Life-stage |
| --- | --- | --- | --- | --- |
| D. magna | Aquatic Ecology and Water Quality Management laboratory, WUR, Wageningen | 31.10.2024 | 2-3.5 | 1st instar neonates (4-day old) |
| C. riparius | UVA laboratories, Amsterdam | 23.05.2025 | 70 | 3rd - 4th instar larvae |
| H. azteca | Environmental Risk Assessment laboratory, WUR | 30.10.2025 | 35 | Adults |
| C. dipterum | De Sinderhoeve untreated water cosms, Renkum | 26.09.2024 | 65 | Late nymphs |
| G. pulex | Wageningen water ditches, Wageningen | 24.09.2024 | 100 | Adults |
| L. benedeni | Pond, Wageningen | 30.05.2025 | 30 | Adults |
| L. depressa | De Sinderhoeve water ditches, Renkum | 31.05.2025 | 84 | Early nymphs |

### Table S4 – Measurement of abiotic water parameters.

| Species | pH1 | EC (uS/cm)1 | O2 (mg/L)1 | T (°C)1 |
| --- | --- | --- | --- | --- |
| D. magna | 7.73 ± 0.04 | 236 ± 1 | 7.83 ± 0.04 | 17.81 ± 0.12 |
| C. riparius | 7.72 ± 0.04 | 237.92 ± 1.80 | 7.68 ± 0.13 | 17.78 ± 0.09 |
| H. azteca | 7.76 ± 0.04 | 168.99 ± 0.46 | 7.90 ± 0.07 | 17.88 ± 0.15 |
| C. dipterum | 7.82 ± 0.08 | 173.9 ± 1.61 | 8.39 ± 0.03 | 17.72 ± 0.19 |
| G. pulex | 7.74 ± 0.08 | 174.91 ± 4.19 | 8.36 ± 0.05 | 17.95 ± 0.10 |
| L. benedeni | 7.35 ± 0.07 | 340.37± 2.26 | 6.3± 0.57 | 18.44 ± 0.15 |
| L. depressa | 7.83 ± 0.09 | 196.89 ± 2.22 | 6.58 ± 0.21 | 19.90 ± 0.11 |

# 1 – Averages of the measurements in the exposure vessels in each test.

# S2 Analytical information

Fate test description, LC-MS/MS method and quantification of carbaryl

The elimination rate (Ke) used in the TKTD models was determined with a separate fate experiment. This fate experiment was  performed for both RT medium and ground water. For each exposure medium, two carbaryl concentrations were prepared: 300 and 3000 µg/L in RT medium and 250 and 1000 µg/L in groundwater. For each concentration-medium combination, two jars of 250 ml were placed in the same conditions as the animal experiments. These conditions include temperature, humidity and light cycle. Samples of medium were taken at the start (T0), at 24 hours and at 96 hours, collected in duplicate in 4 mL glass vials with 400 uL of pH 4-buffered acetonitrile to prevent degradation and subsequently shaken gently before being stored at 5° C until measurement. Samples were analyzed using an Agilent 6490 TSQ (Triple Stage Quadrupole) LC-MS/MS (See Table S6 for the details of the analytical method). The standards of carbaryl used for the measurement were made in ultrapure laboratory-grade water with acetonitrile, as no matrix effects were observed in the test media. The calibration curves showed correlation coefficient of >0.99. Calibration standards were analysed at regular intervals during the measurement of the samples to monitor and, if necessary, correct for drift. The results are shown in Table S7.

The limit of detection (LOD) and limit of quantification (LOQ) were calculated using the standard deviation of the measured concentration of the lowest calibration standard, measured in duplicates. The LOD was defined as 3 times the standard deviation and the LOQ was defined as 10 times the standard deviation. The LOD was 0.015 µg/L and LOQ 0.05 µg/L.

### Table S5 – Compound information

| Commercial name | Carbaryl |
| --- | --- |
| CAS registry number | 63-25-2 |
| Active substance | 1-naphthyl methylcarbamate |
| Amount of active ingredient | 98.7% |
| Lot nr. | 656582 |
| Storage conditions | Room temperature |

### Table S6 – Analytical method

| Instrument | Agilent 6490 triple quadrupole LC–MS/MS |
| --- | --- |
| Mobile phase | 60% acetonitrile (0.1% formic acid) and 40% water (5 mM ammonium acetate, 0.1% formic acid) |
| Flow rate | 0.7 mL/min |
| Ionization mode | ESI+ Agilent Jet Stream |
| Column temperature | 40 °C |
| Injection volume | 20 µL |
| MRM transitions | m/z 202 --> 145, m/z 202 --> 127 |
| Source Gas | Flow 5 L/min, 300 °C |
| Sheath Gas | Flow 11 L/min, 250 °C |
| UV detection | 254 nm |
| Nebulizer pressure | 45 psi |
| Retention time | 3.777 min |
| Column type | Zorbax Eclipse Plus C18 4.6x150 mm, 5 um. SN number: US4XB17844 |

### Table S7 – Fate tests

| Test | Nominal concentration | Time | Actual concentration | Recovery |
| --- | --- | --- | --- | --- |
|  | (µg/L) | (h) | (ng/ml)=(µg/L) | (%) |
| RT Medium | 0 | 0 | <LOQ |  |
| RT Medium | 300 | 0 | 285 | 95 |
| RT Medium | 300 | 0 | 287 | 96 |
| RT Medium | 300 | 0 | 273 | 91 |
| RT Medium | 3000 | 0 | 2812 | 94 |
| RT Medium | 0 | 24 | <LOQ |  |
| RT Medium | 0 | 24 | <LOQ |  |
| RT Medium | 300 | 24 | 281 | 94 |
| RT Medium | 300 | 24 | 280 | 93 |
| RT Medium | 3000 | 24 | 2744 | 91 |
| RT Medium | 3000 | 24 | 2692 | 90 |
| RT Medium | 0 | 96 | <LOQ |  |
| RT Medium | 0 | 96 | 0.633 |  |
| RT Medium | 300 | 96 | 249 | 83 |
| RT Medium | 300 | 96 | 250 | 83 |
| RT Medium | 3000 | 96 | 2336 | 78 |
| RT Medium | 3000 | 96 | 2396 | 80 |
| Ground water | 0 | 0 | <LOQ |  |
| Ground water | 0 | 0 | <LOQ |  |
| Ground water | 250 | 0 | 254 | 101 |
| Ground water | 250 | 0 | 250 | 100 |
| Ground water | 1000 | 0 | 961 | 96 |
| Ground water | 1000 | 0 | 972 | 97 |
| Ground water | 0 | 24 | <LOQ |  |
| Ground water | 0 | 24 | <LOQ |  |
| Ground water | 250 | 24 | 199 | 80 |
| Ground water | 250 | 24 | 203 | 81 |
| Ground water | 1000 | 24 | 801 | 80 |
| Ground water | 1000 | 24 | 811 | 81 |
| Ground water | 0 | 96 | <LOQ |  |
| Ground water | 0 | 96 | <LOQ |  |
| Ground water | 250 | 96 | 107 | 43 |
| Ground water | 250 | 96 | 111 | 44 |
| Ground water | 1000 | 96 | 452 | 45 |
| Ground water | 1000 | 96 | 448 | 45 |

# S3 IT model fitting

### Table S8 – GUTS parameter values derived with the IT model

| Parameters | G. pulex | C. riparius | C. dipterum | D. magna | H. azteca | L. depressa | L. benedeni |
| --- | --- | --- | --- | --- | --- | --- | --- |
| kd (d-1) | 4.7 (3.2 - 6.7) | <0.13 | 0.13 (<0.28) | < 0.097 | 3.7 (1.9 – 5.4) | 0.98 (0.49 – 3.7) | 4.4 (1.6 - 6.7) |
| mw (µg/L) | 31 (23 - 40) | 14.9 (10.2 – 996.8) | 60 (0.77 - 113) | 0.15 (0.12 – 8.6) | 14 (8.6 - 18) | 175 (102 - 434) | 255 (129 – 346) |
| hb (d-1) | 0.013 (0.0059 – 0.024) | 0.011 (0.0037 – 0.023) | 0.0041 (0.0010 – 0.011) | 0.0083 (0.0014 – 0.025) | 0.012 (0.0057 – 0.023) | 0.15 (0.12 – 0.20) | 0.10 (0.076 – 0.13) |
| Fs | 3.9 (2.9 - 6.0) | 8.6 (>4.4) | 6.4 (4.1 - 12.1) | 5.8 (3.9 – 10.3) | 3.4 (2.6 - 4.8) | 2.6 (1.7 – 4.6) | 3.2 (2.3 – 5.8) |
| 2d EC50 (µg/L) | 31 (23-41) | 4.6E3 (3.0E3-7.9E3) | 257 (199-359) | 47 (36-64) | 14 (8.1-18) | 204 (154 - 435) | 255 (131 -350) |
| 4d EC50 (µg/L) | 31 (23-41) | 2.3E3 (1.5E3-4.0E3) | 146 (112-193) | 23 (18 - 32) | 14 (7.9 - 18) | 178 (116 - 435) | 255 (126 -350) |
| R2 | 0.98 | 0.57 | 0.88 | 0.31 | 0.98 | 0.94 | 0.96 |
| NRMSE | 7.6 | 4.8 | 6.8 | 7.5 | 6.5 | 6.8 | 6.8 |
| SPPE min | 8.0 | 24 | 4.7 | 29 | 12 | 7.9 | 24 |
| SPPE max | 8.1 | 9.0 | 9.0 | 13 | 4.9 | 5.5 | 13.2 |

# References

EFSA, Products Panel oPP, Residues t, Ockleford C, Adriaanse P, Berny P, Brock T, Duquesne S, Grilli S, Hernandez-Jerez AF, Bennekou SH, Klein M, Kuhl T, Laskowski R, Machera K, Pelkonen O, Pieper S, Smith RH, Stemmer M, Sundh I, Tiktak A, Topping CJ, Wolterink G, Cedergreen N, Charles S, Focks A, Reed M, Arena M, Ippolito A, Byers H, Teodorovic I. 2018. Scientific Opinion on the state of the art of Toxicokinetic/Toxicodynamic (TKTD) effect models for regulatory risk assessment of pesticides for aquatic organisms. EFSA Journal 16:e05377. DOI: https://doi.org/10.2903/j.efsa.2018.5377.

OECD (2004), Test No. 202: Daphnia sp. Acute Immobilisation Test, OECD Guidelines for the Testing of Chemicals, Section 2, OECD Publishing, Paris, https://doi.org/10.1787/9789264069947-en.

OECD (2011), Test No. 235: Chironomus sp., Acute Immobilisation Test, OECD Guidelines for the Testing of Chemicals, Section 2, OECD Publishing, Paris, https://doi.org/10.1787/9789264122383-en.